## Regulation
Additional regulation per 1000 MW of incremental wind generation capacity in ERCOT
Source: | GE Energy, “Analysis of Wind Generation Impact on ERCOT Ancillary Services Requirements,” Mar. 2008.
Appendix F
Reproduced in | E. Ela, M. Milligan, and B. Kirby, “Operating Reserves and Variable Generation,” National Renewable Energy Laboratory (NREL), Golden, CO, NREL/TP-5500-51978, Aug. 2011.
Table V, p41
Regulation UP
Month | Hr1 | Hr2 | Hr3 | Hr4 | Hr5 | Hr6 | Hr7 | Hr8 | Hr9 | Hr10 | Hr11 | Hr12 | Hr13 | Hr14 | Hr15 | Hr16 | Hr17 | Hr18 | Hr19 | Hr20 | Hr21 | Hr22 | Hr23 | Hr24
Jan. | 2.8 | 4.2 | 3.1 | 3.7 | 2.5 | 0.4 | 2.3 | 2.2 | 4.2 | 5.9 | 7.6 | 5.7 | 4.7 | 3.3 | 2.8 | 2.3 | 4 | 8.6 | 4.2 | 2.7 | 1.6 | 2.7 | 1.4 | 1.6
Feb. | 3.6 | 4 | 2.9 | 2.9 | 1.5 | 1.8 | 5.2 | 3.5 | 4.9 | 6 | 5.1 | 5.2 | 5.3 | 4.2 | 4.3 | 3.5 | 3.8 | 8.6 | 5.5 | 1.9 | 1.4 | 3.1 | 1.9 | 2.2
Mar. | 5.5 | 5.3 | 4.6 | 4.2 | 2.6 | 3.3 | 7.1 | 7.9 | 6.8 | 5.7 | 4.2 | 3.4 | 2.8 | 2.6 | 2.7 | 2.3 | 2.9 | 7.7 | 6.8 | 2.1 | 1.1 | 3 | 1.5 | 2.8
Apr. | 3.1 | 3.6 | 5 | 4 | 2.4 | 2.5 | 8.5 | 11.6 | 10 | 5.6 | 4.2 | 3.4 | 3.2 | 2.5 | 2.1 | 2.1 | 3.5 | 9.2 | 8.2 | 4.1 | 1 | 0.8 | 0 | 1.4
May | 3.6 | 3.3 | 4.3 | 4.3 | 4.2 | 3.3 | 8.7 | 8.8 | 8.1 | 5.7 | 6 | 4.4 | 3.6 | 3.8 | 3.9 | 4.2 | 4.7 | 11.6 | 5.9 | 0.6 | 0 | 1 | 1.4 | 2.5
Jun. | 2.3 | 2.6 | 3.3 | 3.7 | 3.9 | 2.4 | 8.5 | 8.2 | 6.6 | 4.5 | 4.2 | 3.1 | 2.5 | 2.5 | 0.7 | 0.2 | 1.3 | 7.5 | 3.3 | 1.7 | 0.7 | 0.3 | 0.6 | 1.3
Jul. | 1 | 2.8 | 4.4 | 3.7 | 3 | 3.2 | 11.2 | 10.2 | 6.5 | 5.3 | 3.3 | 2.2 | 1.4 | 0.4 | -0.9 | -1.3 | 0.3 | 3.4 | 0.9 | 1.1 | 0.1 | 0 | 1 | 1.2
Aug. | 1.4 | 3.8 | 4.5 | 4.5 | 2.2 | 0.9 | 6.3 | 6.8 | 6.6 | 6.6 | 3.2 | 2.6 | 2.1 | 1.2 | 1.4 | 1.3 | 1.3 | 4.6 | 1.2 | 0.9 | 0.7 | 0.8 | 1.1 | 1.3
Sep. | 3.2 | 4 | 3.7 | 3.5 | 1.8 | 1.9 | 6.9 | 7.7 | 8.3 | 6.9 | 3.5 | 4.8 | 3.8 | 2.3 | 1.6 | 1.2 | 3 | 9.2 | 3.1 | 0.9 | 0.1 | 0.4 | 0.8 | 1.9
Oct. | 3.4 | 2.8 | 2.4 | 2.2 | 1.7 | 1.8 | 5 | 5.8 | 6.1 | 5.9 | 4 | 5.4 | 3.2 | 2.2 | 1.2 | 1.7 | 3.1 | 6.8 | 0.8 | 2.1 | 0 | 0.2 | 1.8 | 2.5
Nov. | 2.7 | 3.2 | 3.6 | 3 | 2.2 | 2.3 | 4.6 | 5.3 | 6.9 | 6.8 | 5.1 | 5.6 | 4.1 | 3.7 | 1.8 | 1.7 | 5.8 | 12.8 | 4.8 | 3.8 | 1 | 1.6 | 2.2 | 1.4
Dec. | 2.8 | 2.4 | 1.4 | 2.1 | 1.2 | 0.4 | 2.8 | 2.7 | 3.8 | 4.6 | 6.8 | 7 | 6 | 4.4 | 3.3 | 3 | 5 | 9.9 | 4.3 | 2.6 | 2.1 | 4.3 | 2 | 1.5
Average | 2.95 | 3.5 | 3.6 | 3.4833 | 2.4333 | 2.0167 | 6.425 | 6.725 | 6.5667 | 5.7917 | 4.7667 | 4.4 | 3.5583 | 2.7583 | 2.075 | 1.85 | 3.225 | 8.325 | 4.0833 | 2.0417 | 0.81667 | 1.5167 | 1.3083 | 1.8
Annual Average | Hr1: 3.584; Hr2: MWreg/Gwwind
| 0.003584 | GWreg/Gwwind
Regulation DOWN
Month | Hr1 | Hr2 | Hr3 | Hr4 | Hr5 | Hr6 | Hr7 | Hr8 | Hr9 | Hr10 | Hr11 | Hr12 | Hr13 | Hr14 | Hr15 | Hr16 | Hr17 | Hr18 | Hr19 | Hr20 | Hr21 | Hr22 | Hr23 | Hr24
Jan. | 1.2 | 1.7 | 2.2 | 2.9 | 2.5 | 1 | 0.8 | 2.5 | -0.2 | -0.5 | -0.2 | 2.4 | 4 | 3.6 | 4 | 3.5 | 2.7 | 5.1 | 7.8 | 10.4 | 8.4 | 5.2 | 5.2 | 3.6
Feb. | 2.7 | 3.6 | 3.8 | 4.4 | 3.3 | 1.7 | 0.5 | 2.5 | 2 | 2.3 | 2.1 | 2.3 | 2.8 | 3.7 | 3.7 | 2.6 | 2.3 | 6.9 | 7.2 | 10 | 11 | 7.3 | 7.1 | 4.7
Mar. | 2.9 | 3.8 | 3.1 | 2.3 | 2.2 | 2.2 | 1.9 | 0.9 | 0.4 | 3.7 | 4 | 2.1 | 1.6 | 2.3 | 3.2 | 3.9 | 3.2 | 6.1 | 6.1 | 8.3 | 9.5 | 6.5 | 5.2 | 3.6
Apr. | 4.3 | 4.5 | 3.4 | 3 | 4.1 | 2.8 | 2.4 | 1.3 | 0.6 | 2.9 | 4.5 | 3.3 | 1.4 | 2.5 | 4.1 | 4.5 | 4.5 | 7.3 | 7.3 | 10.7 | 9.5 | 7.4 | 5.1 | 3
May | 3 | 1.6 | 2.3 | 1.7 | 0.4 | -0.2 | 0.4 | 0.5 | 1.1 | 2.4 | 3.5 | 3.1 | 1.8 | 2.7 | 2.6 | 2.5 | 3.8 | 8.7 | 7.5 | 11.1 | 9.7 | 8.2 | 5.8 | 3.7
Jun. | 1.4 | 0.1 | 1.7 | 2 | 0.5 | -7.7 | -1.2 | -0.7 | -0.2 | 0 | 0.7 | 0.9 | 1.9 | 2.8 | 2.9 | 2.8 | 3.6 | 11 | 8.4 | 7.7 | 6.5 | 5.8 | 4.2 | 2.7
Jul. | 2.6 | 1.5 | 0.7 | -0.3 | -0.6 | -0.7 | -1 | -0.5 | -0.5 | -0.7 | 0 | 0.7 | 1.7 | 2.3 | 2.7 | 3.1 | 2.7 | 8 | 9.2 | 8.7 | 6.1 | 5.5 | 4.7 | 2.6
Aug. | 2 | 1.7 | 1 | 0.6 | 0.3 | -0.9 | 0 | 0.3 | -0.2 | -0.1 | 0.7 | 1 | 1.5 | 1.9 | 2.7 | 4.1 | 3.6 | 4.7 | 5.6 | 7.2 | 5 | 5.4 | 5.1 | 2.7
Sep. | 1.5 | 2.2 | 0.8 | -0.4 | -0.6 | -1.4 | -0.8 | -0.4 | -0.6 | 0.4 | 1 | 0.9 | 1.4 | 1.5 | 2.4 | 2.7 | 3.3 | 7.2 | 5.2 | 7.2 | 6.9 | 6.5 | 6.3 | 4.1
Oct. | 2.4 | 4 | 2 | 0.6 | 0.1 | -0.3 | -0.2 | 0.3 | 0 | 1.5 | 2.6 | 2.4 | 2.6 | 2 | 2.3 | 3 | 4.3 | 9 | 6.8 | 8.6 | 6.8 | 4.6 | 4.2 | 2.3
Nov. | 1.8 | 2.7 | 2.6 | 1.9 | 0.7 | 1 | 1.5 | 1.2 | -0.6 | 1.5 | 2.1 | 2 | 2.2 | 1.5 | 1.8 | 3.5 | 4.7 | 6.8 | 10.4 | 14.1 | 9.5 | 5.7 | 4.1 | 1.7
Dec. | 2.9 | 3.2 | 2.8 | 2.6 | 2.2 | 1.9 | 2.6 | 2.9 | -0.8 | 0.6 | -0.4 | 1.3 | 1.8 | 1.4 | 2.6 | 3.5 | 3.2 | 3.1 | 7.9 | 11.8 | 7.9 | 4.2 | 3.9 | 3.4
Average | 2.3917 | 2.55 | 2.2 | 1.775 | 1.2583 | -0.05 | 0.575 | 0.9 | 0.083333 | 1.1667 | 1.7167 | 1.8667 | 2.0583 | 2.35 | 2.9167 | 3.3083 | 3.4917 | 6.9917 | 7.45 | 9.65 | 8.0667 | 6.025 | 5.075 | 3.175
Annual Average | Hr1: 3.208; Hr2: MWreg/Gwwind
| 0.003208 | GWreg/Gwwind

## 10min
Source: | Y. Wan, “Analysis of Wind Power Ramping Behavior in ERCOT,” National Renewable Energy Laboratory (NREL), Golden, CO, NREL/TP-5500-49218, Mar. 2011.
Table 9 − Wind power 10-minute step change statistics. | [5 empty] | Implied |  | 2.8 | sigma
| Average |  | Standard Dev. | Maximum (MW) |  | Capacity | Std Dev | 99.49% | conf. intvl.
| (MW) | % of Capacity | (MW) | Up | Down | MW |  | % of Cap
2004 | 11 | 0.9% | 12 | 156 | -176 | 1222.2222 | 0.9818% | 2.749%
2005 | 14 | 0.8% | 15 | 213 | -185 | 1750 | 0.8571% | 2.4%
2006 | 21 | 0.7% | 22 | 272 | -279 | 3000 | 0.7333% | 2.053%
2007 | 28 | 0.6% | 34 | 509 | -392 | 4666.6667 | 0.7286% | 2.04%
2008 | 49 | 0.6% | 58 | 839 | -935 | 8166.6667 | 0.7102% | 1.989%
2009 | 58 | 0.6% | 64 | 918 | -1256 | 9666.6667 | 0.6621% | 1.854%

## Forecast (Capacity)
Source: |  | GE Energy, “Analysis of Wind Generation Impact on ERCOT Ancillary Services Requirements,” Mar. 2008.
Note: |  | "Actual" data based on AWS model shown to have very good match to reality. Day Ahead Forecast based on AWS statisticial (Markov) analysis
System Peak Load | 62 | GW | Source: 2008 actual (from ERCOT hourly wind & load data) assumed to be close to Study approach of using 2006 and scaling up to 2008
System Total Energy | 309.7514 | TWh | Scaled for non-leap year from actual 2008 data
System Average Energy | 35.3597 | GW
Wind Avail Factor | 29.6% |  | 2008 actual wind data
Wind Capacity of | 23.8917 | GW to meet | 20% | RPS |  |  | Load Offset | 1163 | GW | 3.289% | of avg energy
Forecast Error Std Dev, sigma (MW)
| Source: | Tbl 4-1, p4-3 | Tbl 4-2, p4-5
Wind Capacity |  | Wind Only | Load | Wind & Load | Estimated | Wind Diff | Variance | Wind std% | Wind&Load std%
0 (Load Only) | 0 |  | 1755 | 1755 | 1755
5 GW | 5000 | 638 | 1755 | 1762 | 1867.3695 | 7 | 407044 | 0.1276 | 0.351
10 GW case 1 | 10000 | 1167 | 1755 | 1928 | 2107.5849 | 173 | 1361889 | 0.1167 | 0.1755
10 GW case 2 | 10000 | 1093 | 1755 | 1887 | 2067.5285 | 132 | 1194649 | 0.1093 | 0.1755
15GW | 15000 | 1611 | 1755 | 2149 | 2382.2985 | 394 | 2595321 | 0.1074 | 0.117
Extrapolated 20GW | 20000 | 2100.25 | 1755 |  | 2736.9828
Extrapolated 25GW | 25000 | 2586.75 | 1755 |  | 3125.908
Extrapolated 30GW | 30000 | 3073.25 | 1755 |  | 3539.0522
Extrapolated 35GW | 35000 | 3559.75 | 1755 |  | 3968.8594
Wind fit slope (m) | 0.0973
Wind fit intercept (b) | 154.25
Note on G13: Bryan Palmintier: sqrt of sum of squares assuming statistical independence

## Forecast (Power)
Based on:
Wind speed error
stdev | 0.5 | m/s
nsteps | 9 | for | 3 | stdev
step size | 0.16667
[59 empty] | Turbine Col |  | 12 | ==> | E-82 kW |  |  |  |  | Max Power = | 2050 | [8 empty] | Bin | 4
Wind Speed (m/s) |  | Wind Speed Forecast (m/s) | [18 empty] | Wind Speed Forecast PDF (Discretized Normal Dist) | [18 empty] | Wind Speed Forecast CDF | [18 empty] | Wind Power Forecast (MW, interpolated) | [18 empty] | Confidence Interval |  | Forecast Error at X sigma |  | Normalized |  |  | Wind Power Forecast PDF
m/s | mph | -1.5 | -1.3333 | -1.1667 | -1 | -0.83333 | -0.66667 | -0.5 | -0.33333 | -0.16667 | 0 | 0.16667 | 0.33333 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | -1.5 | -1.3333 | -1.1667 | -1 | -0.83333 | -0.66667 | -0.5 | -0.33333 | -0.16667 | 0 | 0.16667 | 0.33333 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | -1.5 | -1.3333 | -1.1667 | -1 | -0.83333 | -0.66667 | -0.5 | -0.33333 | -0.16667 | 0 | 0.16667 | 0.33333 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | -1.5 | -1.3333 | -1.1667 | -1 | -0.83333 | -0.66667 | -0.5 | -0.33333 | -0.16667 | 0 | 0.16667 | 0.33333 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | 9.121% | 90.88% | up | down | Forecast | Rsrv Up | Rsrv Down | -1 | 0 | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1900 | 2000 | 2100 | 2200 | Sum(Prob) | Count
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16667 | 0.33333 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 1 | 1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.98487 | 0.01513 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2
1 | 2.2369 | 0 | 0 | 0 | 1.1102e-16 | 0.16667 | 0.33333 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | 1.6667 | 1.8333 | 2 | 2.1667 | 2.3333 | 2.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 6.6667 | 10.3333 | 14 | 0 | 2 | 0 | 2 | 0 | 0 | 0.00097561 |  | 0.56618 | 0.43382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2
2 | 4.4739 | 0.5 | 0.66667 | 0.83333 | 1 | 1.1667 | 1.3333 | 1.5 | 1.6667 | 1.8333 | 2 | 2.1667 | 2.3333 | 2.5 | 2.6667 | 2.8333 | 3 | 3.1667 | 3.3333 | 3.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 6.6667 | 10.3333 | 14 | 17.6667 | 21.3333 | 25 | 34.5 | 44 | 53.5 | 1 | 17.6667 | -2 | 14.6667 | 0.0014634 | -0.00097561 | 0.0071545 |  | 0.033377 | 0.96662 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2
3 | 6.7108 | 1.5 | 1.6667 | 1.8333 | 2 | 2.1667 | 2.3333 | 2.5 | 2.6667 | 2.8333 | 3 | 3.1667 | 3.3333 | 3.5 | 3.6667 | 3.8333 | 4 | 4.1667 | 4.3333 | 4.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1.5 | 2 | 2.5 | 3 | 6.6667 | 10.3333 | 14 | 17.6667 | 21.3333 | 25 | 34.5 | 44 | 53.5 | 63 | 72.5 | 82 | 97.3333 | 112.6667 | 128 | 10.3333 | 63 | -14.6667 | 38 | 0.012195 | -0.0071545 | 0.018537 |  | 0 | 0.99379 | 0.0062097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2
4 | 8.9478 | 2.5 | 2.6667 | 2.8333 | 3 | 3.1667 | 3.3333 | 3.5 | 3.6667 | 3.8333 | 4 | 4.1667 | 4.3333 | 4.5 | 4.6667 | 4.8333 | 5 | 5.1667 | 5.3333 | 5.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 14 | 17.6667 | 21.3333 | 25 | 34.5 | 44 | 53.5 | 63 | 72.5 | 82 | 97.3333 | 112.6667 | 128 | 143.3333 | 158.6667 | 174 | 198.5 | 223 | 247.5 | 44 | 143.3333 | -38 | 61.3333 | 0.04 | -0.018537 | 0.029919 |  | 0 | 0.69146 | 0.30233 | 0.0062097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 3
5 | 11.1847 | 3.5 | 3.6667 | 3.8333 | 4 | 4.1667 | 4.3333 | 4.5 | 4.6667 | 4.8333 | 5 | 5.1667 | 5.3333 | 5.5 | 5.6667 | 5.8333 | 6 | 6.1667 | 6.3333 | 6.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 53.5 | 63 | 72.5 | 82 | 97.3333 | 112.6667 | 128 | 143.3333 | 158.6667 | 174 | 198.5 | 223 | 247.5 | 272 | 296.5 | 321 | 356.1667 | 391.3333 | 426.5 | 112.6667 | 272 | -61.3333 | 98 | 0.084878 | -0.029919 | 0.047805 |  | 0 | 0.066807 | 0.62466 | 0.27516 | 0.031073 | 0.0023033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5
6 | 13.4216 | 4.5 | 4.6667 | 4.8333 | 5 | 5.1667 | 5.3333 | 5.5 | 5.6667 | 5.8333 | 6 | 6.1667 | 6.3333 | 6.5 | 6.6667 | 6.8333 | 7 | 7.1667 | 7.3333 | 7.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 128 | 143.3333 | 158.6667 | 174 | 198.5 | 223 | 247.5 | 272 | 296.5 | 321 | 356.1667 | 391.3333 | 426.5 | 461.6667 | 496.8333 | 532 | 579.1667 | 626.3333 | 673.5 | 223 | 461.6667 | -98 | 140.6667 | 0.15659 | -0.047805 | 0.068618 |  | 0 | 0 | 0.066807 | 0.36701 | 0.36386 | 0.16895 | 0.027167 | 0.0062097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 6
7 | 15.6586 | 5.5 | 5.6667 | 5.8333 | 6 | 6.1667 | 6.3333 | 6.5 | 6.6667 | 6.8333 | 7 | 7.1667 | 7.3333 | 7.5 | 7.6667 | 7.8333 | 8 | 8.1667 | 8.3333 | 8.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 247.5 | 272 | 296.5 | 321 | 356.1667 | 391.3333 | 426.5 | 461.6667 | 496.8333 | 532 | 579.1667 | 626.3333 | 673.5 | 720.6667 | 767.8333 | 815 | 875.8333 | 936.6667 | 997.5 | 391.3333 | 720.6667 | -140.6667 | 188.6667 | 0.25951 | -0.068618 | 0.092033 |  | 0 | 0 | 0 | 0.01513 | 0.10654 | 0.31214 | 0.25765 | 0.18687 | 0.088296 | 0.027167 | 0.0062097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 8
8 | 17.8955 | 6.5 | 6.6667 | 6.8333 | 7 | 7.1667 | 7.3333 | 7.5 | 7.6667 | 7.8333 | 8 | 8.1667 | 8.3333 | 8.5 | 8.6667 | 8.8333 | 9 | 9.1667 | 9.3333 | 9.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 426.5 | 461.6667 | 496.8333 | 532 | 579.1667 | 626.3333 | 673.5 | 720.6667 | 767.8333 | 815 | 875.8333 | 936.6667 | 997.5 | 1058.3333 | 1119.1667 | 1180 | 1252 | 1324 | 1396 | 626.3333 | 1058.3333 | -188.6667 | 243.3333 | 0.39756 | -0.092033 | 0.1187 |  | 0 | 0 | 0 | 0 | 0 | 0.01513 | 0.051677 | 0.13552 | 0.23149 | 0.25765 | 0.18687 | 0.054865 | 0.051677 | 0.0089205 | 0.0062097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 10
9 | 20.1325 | 7.5 | 7.6667 | 7.8333 | 8 | 8.1667 | 8.3333 | 8.5 | 8.6667 | 8.8333 | 9 | 9.1667 | 9.3333 | 9.5 | 9.6667 | 9.8333 | 10 | 10.1667 | 10.3333 | 10.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 673.5 | 720.6667 | 767.8333 | 815 | 875.8333 | 936.6667 | 997.5 | 1058.3333 | 1119.1667 | 1180 | 1252 | 1324 | 1396 | 1468 | 1540 | 1612 | 1658.3333 | 1704.6667 | 1751 | 936.6667 | 1468 | -243.3333 | 288 | 0.57561 | -0.1187 | 0.14049 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0023033 | 0.012827 | 0.051677 | 0.13552 | 0.10621 | 0.25765 | 0.12528 | 0.18687 | 0.054865 | 0.033431 | 0.027167 | 0.0062097 | 0 | 0 | 0 | 0 | 1 | 12
10 | 22.3694 | 8.5 | 8.6667 | 8.8333 | 9 | 9.1667 | 9.3333 | 9.5 | 9.6667 | 9.8333 | 10 | 10.1667 | 10.3333 | 10.5 | 10.6667 | 10.8333 | 11 | 11.1667 | 11.3333 | 11.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 997.5 | 1058.3333 | 1119.1667 | 1180 | 1252 | 1324 | 1396 | 1468 | 1540 | 1612 | 1658.3333 | 1704.6667 | 1751 | 1797.3333 | 1843.6667 | 1890 | 1908.3333 | 1926.6667 | 1945 | 1324 | 1797.3333 | -288 | 185.3333 | 0.78634 | -0.14049 | 0.090407 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0023033 | 0.0039064 | 0.027167 | 0.033431 | 0.13552 | 0.10621 | 0.12528 | 0.25765 | 0.24173 | 0.051677 | 0.01513 | 0 | 0 | 1 | 11
11 | 24.6063 | 9.5 | 9.6667 | 9.8333 | 10 | 10.1667 | 10.3333 | 10.5 | 10.6667 | 10.8333 | 11 | 11.1667 | 11.3333 | 11.5 | 11.6667 | 11.8333 | 12 | 12.1667 | 12.3333 | 12.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1396 | 1468 | 1540 | 1612 | 1658.3333 | 1704.6667 | 1751 | 1797.3333 | 1843.6667 | 1890 | 1908.3333 | 1926.6667 | 1945 | 1963.3333 | 1981.6667 | 2000 | 2008.3333 | 2016.6667 | 2025 | 1704.6667 | 1963.3333 | -185.3333 | 73.3333 | 0.92195 | -0.090407 | 0.035772 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0023033 | 0.0039064 | 0.0089205 | 0.051677 | 0.24173 | 0.25765 | 0.41869 | 0.01513 | 0 | 1 | 8
12 | 26.8433 | 10.5 | 10.6667 | 10.8333 | 11 | 11.1667 | 11.3333 | 11.5 | 11.6667 | 11.8333 | 12 | 12.1667 | 12.3333 | 12.5 | 12.6667 | 12.8333 | 13 | 13.1667 | 13.3333 | 13.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1751 | 1797.3333 | 1843.6667 | 1890 | 1908.3333 | 1926.6667 | 1945 | 1963.3333 | 1981.6667 | 2000 | 2008.3333 | 2016.6667 | 2025 | 2033.3333 | 2041.6667 | 2050 | 2050 | 2050 | 2050 | 1926.6667 | 2033.3333 | -73.3333 | 33.3333 | 0.97561 | -0.035772 | 0.01626 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0062097 | 0.027167 | 0.53281 | 0.43382 | 0 | 1 | 4
13 | 29.0802 | 11.5 | 11.6667 | 11.8333 | 12 | 12.1667 | 12.3333 | 12.5 | 12.6667 | 12.8333 | 13 | 13.1667 | 13.3333 | 13.5 | 13.6667 | 13.8333 | 14 | 14.1667 | 14.3333 | 14.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1945 | 1963.3333 | 1981.6667 | 2000 | 2008.3333 | 2016.6667 | 2025 | 2033.3333 | 2041.6667 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2016.6667 | 2050 | -33.3333 | 0 | 1 | -0.01626 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.033377 | 0.96662 | 0 | 1 | 2
14 | 31.3172 | 12.5 | 12.6667 | 12.8333 | 13 | 13.1667 | 13.3333 | 13.5 | 13.6667 | 13.8333 | 14 | 14.1667 | 14.3333 | 14.5 | 14.6667 | 14.8333 | 15 | 15.1667 | 15.3333 | 15.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2025 | 2033.3333 | 2041.6667 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
15 | 33.5541 | 13.5 | 13.6667 | 13.8333 | 14 | 14.1667 | 14.3333 | 14.5 | 14.6667 | 14.8333 | 15 | 15.1667 | 15.3333 | 15.5 | 15.6667 | 15.8333 | 16 | 16.1667 | 16.3333 | 16.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
16 | 35.791 | 14.5 | 14.6667 | 14.8333 | 15 | 15.1667 | 15.3333 | 15.5 | 15.6667 | 15.8333 | 16 | 16.1667 | 16.3333 | 16.5 | 16.6667 | 16.8333 | 17 | 17.1667 | 17.3333 | 17.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
17 | 38.028 | 15.5 | 15.6667 | 15.8333 | 16 | 16.1667 | 16.3333 | 16.5 | 16.6667 | 16.8333 | 17 | 17.1667 | 17.3333 | 17.5 | 17.6667 | 17.8333 | 18 | 18.1667 | 18.3333 | 18.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
18 | 40.2649 | 16.5 | 16.6667 | 16.8333 | 17 | 17.1667 | 17.3333 | 17.5 | 17.6667 | 17.8333 | 18 | 18.1667 | 18.3333 | 18.5 | 18.6667 | 18.8333 | 19 | 19.1667 | 19.3333 | 19.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
19 | 42.5019 | 17.5 | 17.6667 | 17.8333 | 18 | 18.1667 | 18.3333 | 18.5 | 18.6667 | 18.8333 | 19 | 19.1667 | 19.3333 | 19.5 | 19.6667 | 19.8333 | 20 | 20.1667 | 20.3333 | 20.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
20 | 44.7388 | 18.5 | 18.6667 | 18.8333 | 19 | 19.1667 | 19.3333 | 19.5 | 19.6667 | 19.8333 | 20 | 20.1667 | 20.3333 | 20.5 | 20.6667 | 20.8333 | 21 | 21.1667 | 21.3333 | 21.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
21 | 46.9757 | 19.5 | 19.6667 | 19.8333 | 20 | 20.1667 | 20.3333 | 20.5 | 20.6667 | 20.8333 | 21 | 21.1667 | 21.3333 | 21.5 | 21.6667 | 21.8333 | 22 | 22.1667 | 22.3333 | 22.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
22 | 49.2127 | 20.5 | 20.6667 | 20.8333 | 21 | 21.1667 | 21.3333 | 21.5 | 21.6667 | 21.8333 | 22 | 22.1667 | 22.3333 | 22.5 | 22.6667 | 22.8333 | 23 | 23.1667 | 23.3333 | 23.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
23 | 51.4496 | 21.5 | 21.6667 | 21.8333 | 22 | 22.1667 | 22.3333 | 22.5 | 22.6667 | 22.8333 | 23 | 23.1667 | 23.3333 | 23.5 | 23.6667 | 23.8333 | 24 | 24.1667 | 24.3333 | 24.5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
24 | 53.6866 | 22.5 | 22.6667 | 22.8333 | 23 | 23.1667 | 23.3333 | 23.5 | 23.6667 | 23.8333 | 24 | 24.1667 | 24.3333 | 24.5 | 24.6667 | 24.8333 | 25 | 25 | 25 | 25 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
25 | 55.9235 | 23.5 | 23.6667 | 23.8333 | 24 | 24.1667 | 24.3333 | 24.5 | 24.6667 | 24.8333 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1
Insert spacer | 25
Note on BH10: Bryan Palmintier: Interp formula from: http://www.blueleafsoftware.com/Products/Dagra/LinearInterpolationExcel.php

## Forecast PDF Chart
Based on:
Wind speed error
stdev | 1 | m/s
nsteps | 9 | for | 3 | stdev
step size | 0.33333
Speed PDF | 4
[78 empty] | Turbine Col |  | 12 | ==> | E-82 kW |  |  |  |  | Max Power = | 2050 | [8 empty] | Bin | 4
Wind Speed (m/s) |  | Wind Speed Forecast (m/s) | [18 empty] | Wind Speed Forecast PDF (Discretized Normal Dist) | [18 empty] | Scaled PDF for Speed Plot | [18 empty] | Wind Speed Forecast CDF | [18 empty] | Wind Power Forecast (MW, interpolated) | [18 empty] | Confidence Interval |  | Forecast Error at X sigma |  | Normalized |  |  | Wind Power Forecast PDF
m/s | mph | -3 | -2.6667 | -2.3333 | -2 | -1.6667 | -1.3333 | -1 | -0.66667 | -0.33333 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | -3 | -2.6667 | -2.3333 | -2 | -1.6667 | -1.3333 | -1 | -0.66667 | -0.33333 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | -3 | -2.6667 | -2.3333 | -2 | -1.6667 | -1.3333 | -1 | -0.66667 | -0.33333 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | -3 | -2.6667 | -2.3333 | -2 | -1.6667 | -1.3333 | -1 | -0.66667 | -0.33333 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | -3 | -2.6667 | -2.3333 | -2 | -1.6667 | -1.3333 | -1 | -0.66667 | -0.33333 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | 9.121% | 90.88% | up | down | Forecast | Rsrv Up | Rsrv Down | -1 | 0 | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1100 | 1200 | 1300 | 1400 | 1500 | 1600 | 1700 | 1800 | 1900 | 2000 | 2100 | 2200 | Sum(Prob) | Count
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 10.3333 | 17.6667 | 25 | 0 | 1 | 0 | 1 | 0 | 0 | 0.0004878 |  | 3.5133 | 0.48669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2
1 | 2.2369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | 3.3333 | 3.6667 | 4 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 10.3333 | 17.6667 | 25 | 44 | 63 | 82 | 0 | 10.3333 | 0 | 10.3333 | 0 | 0 | 0.0050407 |  | 2.2647 | 1.7353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 2
2 | 4.4739 | 0 | 0 | 0 | 2.2204e-16 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | 3.3333 | 3.6667 | 4 | 4.3333 | 4.6667 | 5 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 10.3333 | 17.6667 | 25 | 44 | 63 | 82 | 112.6667 | 143.3333 | 174 | 0 | 44 | -3 | 41 | 0.0014634 | -0.0014634 | 0.02 |  | 0.80931 | 3.1302 | 0.060521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 3
3 | 6.7108 | 0 | 0.33333 | 0.66667 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | 3.3333 | 3.6667 | 4 | 4.3333 | 4.6667 | 5 | 5.3333 | 5.6667 | 6 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 0 | 0 | 8.8818e-16 | 1 | 2 | 3 | 10.3333 | 17.6667 | 25 | 44 | 63 | 82 | 112.6667 | 143.3333 | 174 | 223 | 272 | 321 | 2 | 112.6667 | -23 | 87.6667 | 0.012195 | -0.01122 | 0.042764 |  | 0.060521 | 3.4528 | 0.42617 | 0.051307 | 0.0092131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5
4 | 8.9478 | 1 | 1.3333 | 1.6667 | 2 | 2.3333 | 2.6667 | 3 | 3.3333 | 3.6667 | 4 | 4.3333 | 4.6667 | 5 | 5.3333 | 5.6667 | 6 | 6.3333 | 6.6667 | 7 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 0 | 1 | 2 | 3 | 10.3333 | 17.6667 | 25 | 44 | 63 | 82 | 112.6667 | 143.3333 | 174 | 223 | 272 | 321 | 391.3333 | 461.6667 | 532 | 17.6667 | 223 | -64.3333 | 141 | 0.04 | -0.031382 | 0.06878 |  | 0.0092131 | 2.2555 | 1.2486 | 0.35318 | 0.10867 | 0.015626 | 0.0092131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 7
5 | 11.1847 | 2 | 2.3333 | 2.6667 | 3 | 3.3333 | 3.6667 | 4 | 4.3333 | 4.6667 | 5 | 5.3333 | 5.6667 | 6 | 6.3333 | 6.6667 | 7 | 7.3333 | 7.6667 | 8 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 3 | 10.3333 | 17.6667 | 25 | 44 | 63 | 82 | 112.6667 | 143.3333 | 174 | 223 | 272 | 321 | 391.3333 | 461.6667 | 532 | 626.3333 | 720.6667 | 815 | 63 | 391.3333 | -111 | 217.3333 | 0.084878 | -0.054146 | 0.10602 |  | 0 | 0.80931 | 1.4554 | 0.92595 | 0.54208 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 9
6 | 13.4216 | 3 | 3.3333 | 3.6667 | 4 | 4.3333 | 4.6667 | 5 | 5.3333 | 5.6667 | 6 | 6.3333 | 6.6667 | 7 | 7.3333 | 7.6667 | 8 | 8.3333 | 8.6667 | 9 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 25 | 44 | 63 | 82 | 112.6667 | 143.3333 | 174 | 223 | 272 | 321 | 391.3333 | 461.6667 | 532 | 626.3333 | 720.6667 | 815 | 936.6667 | 1058.3333 | 1180 | 143.3333 | 626.3333 | -177.6667 | 305.3333 | 0.15659 | -0.086667 | 0.14894 |  | 0 | 0.13351 | 0.67581 | 0.92595 | 1.0306 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 12
7 | 15.6586 | 4 | 4.3333 | 4.6667 | 5 | 5.3333 | 5.6667 | 6 | 6.3333 | 6.6667 | 7 | 7.3333 | 7.6667 | 8 | 8.3333 | 8.6667 | 9 | 9.3333 | 9.6667 | 10 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 82 | 112.6667 | 143.3333 | 174 | 223 | 272 | 321 | 391.3333 | 461.6667 | 532 | 626.3333 | 720.6667 | 815 | 936.6667 | 1058.3333 | 1180 | 1324 | 1468 | 1612 | 272 | 936.6667 | -260 | 404.6667 | 0.25951 | -0.12683 | 0.1974 |  | 0 | 0.0092131 | 0.12429 | 0.35318 | 0.74746 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0 | 0.035682 | 0.015626 | 0 | 0.0092131 | 0 | 0 | 0 | 0 | 0 | 4 | 15
8 | 17.8955 | 5 | 5.3333 | 5.6667 | 6 | 6.3333 | 6.6667 | 7 | 7.3333 | 7.6667 | 8 | 8.3333 | 8.6667 | 9 | 9.3333 | 9.6667 | 10 | 10.3333 | 10.6667 | 11 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 174 | 223 | 272 | 321 | 391.3333 | 461.6667 | 532 | 626.3333 | 720.6667 | 815 | 936.6667 | 1058.3333 | 1180 | 1324 | 1468 | 1612 | 1704.6667 | 1797.3333 | 1890 | 461.6667 | 1324 | -353.3333 | 509 | 0.39756 | -0.17236 | 0.24829 |  | 0 | 0 | 0.0092131 | 0.051307 | 0.20671 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0 | 0.21946 | 0.13372 | 0 | 0.072985 | 0.051307 | 0.0092131 | 0 | 0 | 0 | 4 | 16
9 | 20.1325 | 6 | 6.3333 | 6.6667 | 7 | 7.3333 | 7.6667 | 8 | 8.3333 | 8.6667 | 9 | 9.3333 | 9.6667 | 10 | 10.3333 | 10.6667 | 11 | 11.3333 | 11.6667 | 12 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 321 | 391.3333 | 461.6667 | 532 | 626.3333 | 720.6667 | 815 | 936.6667 | 1058.3333 | 1180 | 1324 | 1468 | 1612 | 1704.6667 | 1797.3333 | 1890 | 1926.6667 | 1963.3333 | 2000 | 720.6667 | 1704.6667 | -459.3333 | 524.6667 | 0.57561 | -0.22407 | 0.25593 |  | 0 | 0 | 0 | 0 | 0.024839 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0 | 0.50111 | 0.42484 | 0 | 0.32262 | 0.35318 | 0.072985 | 0.060521 | 0 | 0 | 4 | 15
10 | 22.3694 | 7 | 7.3333 | 7.6667 | 8 | 8.3333 | 8.6667 | 9 | 9.3333 | 9.6667 | 10 | 10.3333 | 10.6667 | 11 | 11.3333 | 11.6667 | 12 | 12.3333 | 12.6667 | 13 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 532 | 626.3333 | 720.6667 | 815 | 936.6667 | 1058.3333 | 1180 | 1324 | 1468 | 1612 | 1704.6667 | 1797.3333 | 1890 | 1926.6667 | 1963.3333 | 2000 | 2016.6667 | 2033.3333 | 2050 | 1058.3333 | 1926.6667 | -553.6667 | 314.6667 | 0.78634 | -0.27008 | 0.1535 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0 | 0.42484 | 0.50111 | 0 | 0.52947 | 0.92595 | 0.32262 | 0.42617 | 0.060521 | 0 | 4 | 14
11 | 24.6063 | 8 | 8.3333 | 8.6667 | 9 | 9.3333 | 9.6667 | 10 | 10.3333 | 10.6667 | 11 | 11.3333 | 11.6667 | 12 | 12.3333 | 12.6667 | 13 | 13.3333 | 13.6667 | 14 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 815 | 936.6667 | 1058.3333 | 1180 | 1324 | 1468 | 1612 | 1704.6667 | 1797.3333 | 1890 | 1926.6667 | 1963.3333 | 2000 | 2016.6667 | 2033.3333 | 2050 | 2050 | 2050 | 2050 | 1468 | 2016.6667 | -422 | 126.6667 | 0.92195 | -0.20585 | 0.061789 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0 | 0.13372 | 0.21946 | 0 | 0.32262 | 0.92595 | 0.52947 | 1.2486 | 0.48669 | 0 | 4 | 11
12 | 26.8433 | 9 | 9.3333 | 9.6667 | 10 | 10.3333 | 10.6667 | 11 | 11.3333 | 11.6667 | 12 | 12.3333 | 12.6667 | 13 | 13.3333 | 13.6667 | 14 | 14.3333 | 14.6667 | 15 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1180 | 1324 | 1468 | 1612 | 1704.6667 | 1797.3333 | 1890 | 1926.6667 | 1963.3333 | 2000 | 2016.6667 | 2033.3333 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 1797.3333 | 2050 | -202.6667 | 50 | 0.97561 | -0.098862 | 0.02439 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092131 | 0 | 0.015626 | 0.035682 | 0 | 0.072985 | 0.35318 | 0.32262 | 1.4554 | 1.7353 | 0 | 4 | 8
13 | 29.0802 | 10 | 10.3333 | 10.6667 | 11 | 11.3333 | 11.6667 | 12 | 12.3333 | 12.6667 | 13 | 13.3333 | 13.6667 | 14 | 14.3333 | 14.6667 | 15 | 15.3333 | 15.6667 | 16 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1612 | 1704.6667 | 1797.3333 | 1890 | 1926.6667 | 1963.3333 | 2000 | 2016.6667 | 2033.3333 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 1963.3333 | 2050 | -86.6667 | 0 | 1 | -0.042276 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092131 | 0.051307 | 0.072985 | 0.67581 | 3.1907 | 0 | 4 | 5
14 | 31.3172 | 11 | 11.3333 | 11.6667 | 12 | 12.3333 | 12.6667 | 13 | 13.3333 | 13.6667 | 14 | 14.3333 | 14.6667 | 15 | 15.3333 | 15.6667 | 16 | 16.3333 | 16.6667 | 17 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 1890 | 1926.6667 | 1963.3333 | 2000 | 2016.6667 | 2033.3333 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2033.3333 | 2050 | -16.6667 | 0 | 1 | -0.0081301 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092131 | 0.12429 | 3.8665 | 0 | 4 | 3
15 | 33.5541 | 12 | 12.3333 | 12.6667 | 13 | 13.3333 | 13.6667 | 14 | 14.3333 | 14.6667 | 15 | 15.3333 | 15.6667 | 16 | 16.3333 | 16.6667 | 17 | 17.3333 | 17.6667 | 18 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2000 | 2016.6667 | 2033.3333 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092131 | 3.9908 | 0 | 4 | 2
16 | 35.791 | 13 | 13.3333 | 13.6667 | 14 | 14.3333 | 14.6667 | 15 | 15.3333 | 15.6667 | 16 | 16.3333 | 16.6667 | 17 | 17.3333 | 17.6667 | 18 | 18.3333 | 18.6667 | 19 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
17 | 38.028 | 14 | 14.3333 | 14.6667 | 15 | 15.3333 | 15.6667 | 16 | 16.3333 | 16.6667 | 17 | 17.3333 | 17.6667 | 18 | 18.3333 | 18.6667 | 19 | 19.3333 | 19.6667 | 20 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
18 | 40.2649 | 15 | 15.3333 | 15.6667 | 16 | 16.3333 | 16.6667 | 17 | 17.3333 | 17.6667 | 18 | 18.3333 | 18.6667 | 19 | 19.3333 | 19.6667 | 20 | 20.3333 | 20.6667 | 21 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
19 | 42.5019 | 16 | 16.3333 | 16.6667 | 17 | 17.3333 | 17.6667 | 18 | 18.3333 | 18.6667 | 19 | 19.3333 | 19.6667 | 20 | 20.3333 | 20.6667 | 21 | 21.3333 | 21.6667 | 22 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
20 | 44.7388 | 17 | 17.3333 | 17.6667 | 18 | 18.3333 | 18.6667 | 19 | 19.3333 | 19.6667 | 20 | 20.3333 | 20.6667 | 21 | 21.3333 | 21.6667 | 22 | 22.3333 | 22.6667 | 23 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
21 | 46.9757 | 18 | 18.3333 | 18.6667 | 19 | 19.3333 | 19.6667 | 20 | 20.3333 | 20.6667 | 21 | 21.3333 | 21.6667 | 22 | 22.3333 | 22.6667 | 23 | 23.3333 | 23.6667 | 24 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
22 | 49.2127 | 19 | 19.3333 | 19.6667 | 20 | 20.3333 | 20.6667 | 21 | 21.3333 | 21.6667 | 22 | 22.3333 | 22.6667 | 23 | 23.3333 | 23.6667 | 24 | 24.3333 | 24.6667 | 25 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
23 | 51.4496 | 20 | 20.3333 | 20.6667 | 21 | 21.3333 | 21.6667 | 22 | 22.3333 | 22.6667 | 23 | 23.3333 | 23.6667 | 24 | 24.3333 | 24.6667 | 25 | 25 | 25 | 25 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
24 | 53.6866 | 21 | 21.3333 | 21.6667 | 22 | 22.3333 | 22.6667 | 23 | 23.3333 | 23.6667 | 24 | 24.3333 | 24.6667 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
25 | 55.9235 | 22 | 22.3333 | 22.6667 | 23 | 23.3333 | 23.6667 | 24 | 24.3333 | 24.6667 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 0.0023033 | 0.0039064 | 0.0089205 | 0.018246 | 0.033431 | 0.054865 | 0.080656 | 0.10621 | 0.12528 | 0.13237 | 0.12528 | 0.10621 | 0.080656 | 0.054865 | 0.033431 | 0.018246 | 0.0089205 | 0.0039064 | 0.0023033 | 0.0092131 | 0.015626 | 0.035682 | 0.072985 | 0.13372 | 0.21946 | 0.32262 | 0.42484 | 0.50111 | 0.52947 | 0.50111 | 0.42484 | 0.32262 | 0.21946 | 0.13372 | 0.072985 | 0.035682 | 0.015626 | 0.0092131 | 0.0013499 | 0.0038304 | 0.0098153 | 0.02275 | 0.04779 | 0.091211 | 0.15866 | 0.25249 | 0.36944 | 0.5 | 0.63056 | 0.74751 | 0.84134 | 0.90879 | 0.95221 | 0.97725 | 0.99018 | 0.99617 | 0.99865 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 0 | 0 | 1 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 4 | 1
Insert spacer | 25
Note on CA10: Bryan Palmintier: Interp formula from: http://www.blueleafsoftware.com/Products/Dagra/LinearInterpolationExcel.php

## EnerconTurbines
Enercon Wind Turbines
Model |  | E-33 |  | E-44 |  | E-48 |  | E-53 |  | E-70 |  | E-82
Rated Power | kW | 330 |  | 900 |  | 800 |  | 800 |  | 2300 |  | 2000
Rotor Dia | m | 33.4 |  | 44 |  | 48 |  | 52.9 |  | 71 |  | 82
Swept Area | sq.m | 876 |  | 1521 |  | 1810 |  | 2198 |  | 3959 |  | 5281
Hub Hgt. | m (range) | 44 | 55 | 55 |  | 50 | 76 | 73 |  | 58-113 |  | 70 | 108
| Col ID: | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
m/s | mph | E-33 kW | E-33 Ratio | E-44 kW | E-44 Ratio | E-48 kW | E-48 Ratio | E-53 kW | E-53 Ratio | E-70 kW | E-70 Ratio | E-82 kW | E-82 Ratio
-1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 2.237 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4.474 | 0 | 0 | 1.4 | 0.0015556 | 2 | 0.0025 | 2 | 0.0025 | 2 | 0.00086957 | 3 | 0.0015
3 | 6.711 | 5 | 0.015152 | 8 | 0.0088889 | 12 | 0.015 | 14 | 0.0175 | 18 | 0.0078261 | 25 | 0.0125
4 | 8.948 | 13.7 | 0.041515 | 24.5 | 0.027222 | 32 | 0.04 | 38 | 0.0475 | 56 | 0.024348 | 82 | 0.041
5 | 11.185 | 30 | 0.090909 | 53 | 0.058889 | 66 | 0.0825 | 77 | 0.09625 | 127 | 0.055217 | 174 | 0.087
6 | 13.422 | 55 | 0.16667 | 96 | 0.10667 | 120 | 0.15 | 141 | 0.17625 | 240 | 0.10435 | 321 | 0.1605
7 | 15.659 | 92 | 0.27879 | 156 | 0.17333 | 191 | 0.23875 | 228 | 0.285 | 400 | 0.17391 | 532 | 0.266
8 | 17.896 | 138 | 0.41818 | 238 | 0.26444 | 284 | 0.355 | 336 | 0.42 | 626 | 0.27217 | 815 | 0.4075
9 | 20.133 | 196 | 0.59394 | 340 | 0.37778 | 405 | 0.50625 | 480 | 0.6 | 892 | 0.38783 | 1180 | 0.59
10 | 22.37 | 250 | 0.75758 | 466 | 0.51778 | 555 | 0.69375 | 645 | 0.80625 | 1223 | 0.53174 | 1612 | 0.806
11 | 24.607 | 292.8 | 0.88727 | 600 | 0.66667 | 671 | 0.83875 | 744 | 0.93 | 1590 | 0.6913 | 1890 | 0.945
12 | 26.844 | 320 | 0.9697 | 710 | 0.78889 | 750 | 0.9375 | 780 | 0.975 | 1900 | 0.82609 | 2000 | 1
13 | 29.081 | 335 | 1.0152 | 790 | 0.87778 | 790 | 0.9875 | 810 | 1.0125 | 2080 | 0.90435 | 2050 | 1.025
14 | 31.318 | 335 | 1.0152 | 850 | 0.94444 | 810 | 1.0125 | 810 | 1.0125 | 2230 | 0.96957 | 2050 | 1.025
15 | 33.555 | 335 | 1.0152 | 880 | 0.97778 | 810 | 1.0125 | 810 | 1.0125 | 2300 | 1 | 2050 | 1.025
16 | 35.792 | 335 | 1.0152 | 905 | 1.0056 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
17 | 38.029 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
18 | 40.266 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
19 | 42.503 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
20 | 44.74 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
21 | 46.977 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
22 | 49.214 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
23 | 51.451 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
24 | 53.688 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
25 | 55.925 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025
26 | 58.162 | 335 | 1.0152 | 910 | 1.0111 | 810 | 1.0125 | 810 | 1.0125 | 2310 | 1.0043 | 2050 | 1.025